[image: image1.png]L L WATER

Services =———=




[image: image1.png]

INDIVIDUAL FLOODPLAIN DEVELOPMENT PERMIT APPLICATION CHECK SHEET
FOR DEVELOPMENT WITHIN THE FLOOD FRINGE

    Type/Area 1C, 3C     

Project Address/Parcel ID Number      
Attach this check sheet and the following documentation for review with the Individual FDP Application.  A floodplain development permit application fee may apply.
 FORMCHECKBOX 

Grading plans and erosion control plans.  Plans must be certified by P.E., Architect or RLA and must show the following information:

 FORMCHECKBOX 

Community Flood Fringe Line - line depicting the maximum elevation subject to inundation by the Community base flood; elevation associated with this line plus surcharge is used to determine minimum construction elevation.

 FORMCHECKBOX 

FEMA Flood Fringe Line – line depicting the maximum elevation subject to inundation by the FEMA base flood; delineates FEMA Special Flood Hazard Area.
 FORMCHECKBOX 

Community Encroachment Line - lateral limits of the community encroachment floodway area, along streams or other bodies of water, within which, in the direction of the stream or other body of water, no structure or fill may be added, unless specifically permitted. 
 FORMCHECKBOX 

FEMA Floodway Encroachment Line – lateral limits of FEMA floodway area along a stream or other bodies of water, within which, in the direction of the stream or other body of water, no structure or fill may be added, unless specifically permitted.
 FORMCHECKBOX 

Cross sections labeled with the cross section ID, the FEMA Flood Fringe Elevation and the Future Conditions Flood Fringe Elevation.  

 FORMCHECKBOX 

Creek centerline and creek name along full extent of project.

 FORMCHECKBOX 

Flood Protection Elevations (FPE) for all lots that touch the Future Conditions Flood Fringe.  FPE must be based on Future Conditions Flood Fringe Elevation plus applicable surcharge for the project’s jurisdiction.


 FORMCHECKBOX 

A note stating that the Community Encroachment Line must be clearly marked prior to any grading and the marked line must be maintained on site until final grading is completed. 

Certification
 FORMCHECKBOX 

Grading plans and construction drawings are certified by a North Carolina Registered Professional Engineer.  

Endangered Species Act
 FORMCHECKBOX 

Documentation that the proposed construction complies with Sections 9 & 10 of the Endangered Species Act.  

The Floodplain Administrator reserves the right to determine the level of supporting technical data necessary.

Optional

 FORMCHECKBOX 

For residential subdivision development, provide documentation that grading plans have been sent to appropriate planning department.

 FORMCHECKBOX 

For applicable sites, provide proof that during the occurrence of the Community Base Flood the property would have dryland access from a dry public street to any habitable building to be constructed on the property.

 FORMCHECKBOX 

For applicable sites, provide proof that during the occurrence of the Community Base Flood, water depths would be less than 6” in parking areas for non-single family habitable buildings.

	The Flood Mitigation Program is committed to efficient and effective review of all FDP Applications.

Our goal is to approve or request additional information for this FDP submittal within 15 business days from confirmation of a complete application package.

Page 2 of 2
	Check Sheet

1C, 3C

12/2021



