Post-Construction Storm Water Ordinance
Compliance Certification
The following must be confirmed for verification of compliance with Post-Construction Storm Water Ordinance requirements  The certifier should note that some of the checklist items below pertain to certification of items and require inspections prior to and during construction.
Project Name:      
Project Address:      
Owner’s Name:       

Owner’s Address:       

Date of Compliance Verification      
Design Engineer (Certifier):      
Pre-BMP Construction

 FORMCHECKBOX 

Attendance at the Grading Pre-Construction meeting to ensure engineer involvement at key project milestones
 FORMCHECKBOX 

Attendance at the Pre-Installation meeting (prior to BMP construction) to ensure engineer inspections are performed at key BMP installation phases.
 FORMCHECKBOX 

Drainage area properly stabilized and measures in place to prevent sedimentation into the BMP prior to commencement of BMP construction.

 FORMCHECKBOX 

Storm drain system cleaned (lines flushed, catch basins cleaned, and pavement cleaned) prior to commencement of BMP construction. 

Best Management Practices (BMPs) for Water Quality, Volume & Peak Control
 FORMCHECKBOX 
  Off-site total phosphorus mitigation option completed as required per Storm Water Management Permit (SWMP), including installation of BMP(s) in full compliance with Ordinance requirements (field verification required)

 FORMCHECKBOX 
 Buy-down total phosphorus mitigation option completed and payment received as required per SWMP (attach a copy of verification of payment to this form)

 FORMCHECKBOX 

Development and redevelopment mitigation option completed as required per SWMP.
 FORMCHECKBOX 

Two (2) year maintenance bond secured for all BMPs
 FORMCHECKBOX 

Complete the BMP Maintenance and Inspection Forms for the BMP(s) used for compliance with the ordinance requirements, including BMPs installed for mitigation located at:  ftp://ftp1.co.mecklenburg.nc.us/WaterQuality/PCO%20Forms/BMP_Maintenance_Inspection_Checklists_PCO21/ . The Inspection Type should be marked as “Final Construction”. 
 FORMCHECKBOX 

For Wet Ponds and Wetlands, soil K-value tests from the pond bottom material reviewed by the engineer to ensure the pond will maintain permanent pool elevation.
 FORMCHECKBOX 
 For bioretention gardens and enhanced grassed swales, field permeability tests of media (minimum of two double-ring infiltrometer tests per BMP) completed after media installed to demonstrate K values greater than or equal to 1.0 inch/hour.

 FORMCHECKBOX 

Inspection of BMP outlet structure joints and pipe joints to ensure appropriate joint sealants and pipe collars installed for water-tightness. 

 FORMCHECKBOX 

For BMPS with embankments that are designed to hold water (or temporarily hold water), ensure embankment construction meets the requirements of Section 4.0.6 of the BMP Design Manual.
Buffers

 FORMCHECKBOX 

Buffer maintained as per Ordinance requirements (field verification required)
 FORMCHECKBOX 

Energy dissipaters preventing erosion below storm drain outfall (field verification required)
 FORMCHECKBOX 

SWIM Buffer mitigation option completed as required per SWMP (field verification required)
 FORMCHECKBOX 

For the Towns of Davidson and Matthews, stream evaluation forms (Form #PCO39) verified for accuracy by inspector.

Undisturbed Open Space

 FORMCHECKBOX 
  Size and location of area correct (field verification required)
 FORMCHECKBOX 

Area undisturbed (field verification required)
 FORMCHECKBOX 

On-site mitigation option completed as required per SWMP (field verification required)

 FORMCHECKBOX 

Off-site mitigation option and transfer of property ownership completed as required per SWMP (field verification required)
 FORMCHECKBOX 

Payment-in-lieu mitigation option completed and payment received as required per SWMP (attach a copy of verification of payment to this form)
 FORMCHECKBOX 

Pre-approved mitigation option completed as required per SWMP (field verification required)  

Recordations
 FORMCHECKBOX 

Final plat approved and recorded 

 FORMCHECKBOX 

Operation and Maintenance Agreement and Maintenance Plan recorded for each BMP

As-Built Survey
 FORMCHECKBOX 

As-built survey for BMPs, Buffers, Built-Upon Area, Undisturbed Open Space, and storm drainage system properly completed and sealed per form #PCO27 (Appendix 10-1 in Administrative Manual) 

 FORMCHECKBOX 

Attach revised BMP hydraulics calculations (sealed) based upon surveyed elevations per form #PCO27 (Appendix 10-1 in Administrative Manual)
 FORMCHECKBOX 

As-built survey submitted digitally in Electronic Plans Management System after the final inspection and approval of the project.  
Comments:       

Compliance Certification Statement

I do hereby certify that I have certified that the above items are in compliance with the approved storm water management plans, designs, and the requirements of the Post-Construction Storm Water Ordinance.  

__________________________

____________

    Professional’s Signature

     Date



     
        (Professional seal)
Page 1 of 2
(Revision December 2014)

