Town of Huntersville Mitigation Application Form
	Application Received Date:       Time:      


	Application/Permit Number:      

	Type of Mitigation Requested for Approval:   FORMCHECKBOX 
 LID Mitigation   FORMCHECKBOX 
 Development and Redevelopment Mitigation


	Information Regarding Site Needing Mitigation (must  be completed for all mitigation requests):

	Name of Development:      

	Address:                                                                                         Original Tax Parcel:      

	Name of Creek System Where Development is Located:      

	Total Area of Project (acres):        Total Disturbed Area (acres):         % Built Upon:                                               

	Land Development Fee Paid: $                           FORMCHECKBOX 
 Amendment to Permit #:      

	Type of Development:  FORMCHECKBOX 
 Commercial  FORMCHECKBOX 
 Residential  FORMCHECKBOX 
 Mixed Use  FORMCHECKBOX 
 Subdivision

	Zoning Designation:      

	Resubmittal:  FORMCHECKBOX 
 Yes  FORMCHECKBOX 
 No If yes provide notification date that resubmittal was required:      

	Type of On-Site BMP Installed:      

	Owner’s Name:      

	Owner’s Address:      

	Owner’s Phone Number:                                                    Fax:      

	Owner’s Email:      


	LID Mitigation (Available if BUA on the development site exceeds 50%. Select 1 of the following 2 mitigation options.)

	Option #1: Off-Site Mitigation (information for site where mitigation is to be performed):

	Address:                                                                                                       Tax Parcel:      

	Name Creek System Where Site is Located:      

	Total Area of Site (acres):         Total Area to be Treated (acres):        % Built Upon:                                               

	Type of Development:  FORMCHECKBOX 
 Commercial  FORMCHECKBOX 
 Residential  FORMCHECKBOX 
 Mixed Use  FORMCHECKBOX 
 Subdivision

	Zoning Designation:      

	Resubmittal:  FORMCHECKBOX 
 Yes  FORMCHECKBOX 
 No If yes provide notification date that resubmittal was required:     

	Type Off-Site BMP to be Installed (plans must be attached):      

	Pounds of Total Phosphorus Reduced by the Off-Site Retrofit Project (calculations on page 2):      

	Owner’s Name:      

	Owner’s Address:      

	Owner’s Phone Number:                                                    Fax:      

	Owner’s Email:      

	Option #2: Buy-Down Mitigation (calculations on page 2):

	1. Pollutant Load Required for Mitigation Over 20 Years =       

	

	2. Pollutant Load Over 20 Years x Mitigation Rate ($2,257.78/lb.) =      

	3. 20 Year Operation and Maintenance Costs ($4,400/acre) = $     

	4. Administrative Costs (12% of total) = $     

	5. Total LID Buy-Down Mitigation Cost (check must be made payable to the Town of Huntersville) = $     


	Development and Redevelopment Mitigation (Available for lots less than one (1) acre shown on a recorded deed or plat prior to July 1, 2007 and for lots in the Town Center Zoning District. Select 1 of the following 3 mitigation options.)

	Option #1: Storm Water Quality Treatment Provided with LID or Conventional BMPs  FORMCHECKBOX 


	Option #2: Storm Water Volume and Peak Control Provided  FORMCHECKBOX 


	Option #3: Mitigation Fee (Calculations on page 2. Check must be made payable to the Town of Huntersville):  =  $     


Town of Huntersville Mitigation Application Form
Check off the items below for the mitigation option selected on page 1 of this form and enclose with this application form. All applicable items must be checked in order for an application to be considered complete.


LID Mitigation
Option #1:  Off-Site Mitigation
1.  FORMCHECKBOX 

Provide the following calculations:
	1
	Project Site Drainage Area (acres)
	     

	2
	Phosphorus Loading at Project Site (lbs/acre/year) (select value from Table 3.1 of Huntersville Water Quality Design Manual) 
	     

	3
	Total Phosphorus Loading at Project Site (lbs/year) (Row 1 x  Row 2) 
	     

	4
	Pollutant Load Required for Mitigation (lbs/year) (Row 3 x 10%)
	     

	6
	Mitigation Site Drainage Area (acres)
	     

	7
	Phosphorus Loading at Mitigation Site (lbs/acre/year) (select value from Table 3.1 of Huntersville Water Quality Design Manual) 
	     

	8
	Total Phosphorus Loading at Mitigation Site (lbs/year) (Row 6 x Row 7) 
	     

	9
	Total Phosphorus Removal Efficiency of BMP at Mitigation Site (%)
	     

	10
	Total Phosphorus Loading Reduced by the Mitigation Site (lbs/year) (Row 8 x Row 9)
	     

	11
	Pollutant Load Mitigated (%) ((Row 10 / Row 4) x 100)
	     


2.  FORMCHECKBOX 

Plans and calculations must be provided for the off-site BMP project. All designs must be in accordance with the approved Design Manual and must be sealed by a professional designer.  
3.  FORMCHECKBOX 

A legally valid instrument must be provided demonstrating that the applicant has land rights to perform the BMP project on the property.
4.  FORMCHECKBOX 

A Phase I environmental site assessment must be provided indicating that there are no areas of environmental concern on or immediately adjacent to the site.

5.  FORMCHECKBOX 

An Operation and Maintenance Agreement and Maintenance Plan must be attached to the application form for each BMP included in the project.
Option #2:  Buy-Down Mitigation
Provide a check payable to the Town of Huntersville in the amount shown in Line 9.
1.  FORMCHECKBOX 

Provide the following calculations:
	1
	Project Site Drainage Area (acres)
	     

	2
	Phosphorus Loading (lbs/acre/year) (select value from Table 3.1 of Huntersville Water Quality Design Manual) 
	     

	3
	Total Phosphorus Loading for the Site (lbs/year) (Row 1 x  Row 2) 
	     

	4
	Pollutant Load Required for Mitigation (lbs/year) (Row 3 x 10%)
	     

	5
	Pollutant Load Required for Mitigation Over the 20 Year Life Span of the BMP (lbs) (Row 4 x 20)
	     

	6
	Pollutant Load Over 20 Years x Mitigation Rate ($) (Row 5 x $2,257.78/lb.)
	     

	7
	20 Year Operation and Maintenance Costs at $4,400/Acre ($) (Row 1 x $4,400) 
	     

	8
	Administrative Costs at 12% of Total ($) ((Rows 6 + 7) x 0.12)
	     

	9
	Total LID Buy-Down Mitigation Cost ($) (Rows 6 + 7 + 8)
	     



Development and Redevelopment Mitigation
Options 1 &2: Storm Water Quality Treatment & Option 2: Storm Water Volume and Peak Control

 FORMCHECKBOX 

Plans and calculations must be provided for all BMP(s). All designs must be in accordance with the approved Design Manual and must be sealed by a professional designer.
Option 3: Mitigation Fee

Provide a check payable to the Town of Huntersville in the amount shown in Lines 2 or 3 below.
 FORMCHECKBOX 
  Provide the following calculations:
	1
	Untreated post-project built-upon area (acres)
	     

	2
	Mitigation Fee for single family residential prorated at $45,000/Untreated Acre (Row 1 x $45,000)
	     

	3
	Mitigation Fee for non-single family residential prorated at $60,000/Untreated Acre (Row 1x$60,000)
	     


Town of Huntersville Mitigation Application Form
Application Submittal Requirements: 
This application must be submitted at the same time and attached to the Concept Plan Application form. This application conveys the information necessary for the review of a request for mitigation in the Town of Huntersville. This application shall be reviewed and approved at the same time as the Concept Plan for the project.  Approval of this application runs contiguous with the Storm Water Management Permit issued for the site which is valid until the project is complete or three (3) years from issuance of permit, whichever comes first.  This application must be completed in full and attached to any additional plans, calculations or documents listed on page 2 in order for the application to be considered complete and accepted for review. 
Reviewed By: _______________________________________  Date: _____________________
	 FORMCHECKBOX 
Approved  FORMCHECKBOX 
Approved with Modifications  FORMCHECKBOX 
Approved with Performance Reservation (attached)


Issued By: __________________________________________  Date: ____________________
1

